## BOQ
[Project Title]
DETAILS | ITEM | QTY
General
IQ+ Software - 5 users, 25 devices
Trend Micro Antivirus - 3yrs
Trellis Whitelisting - 3yrs
Factory FAT - 2 days
Commissioning - 10 days + mobilisation
Energisation assistance - daily rate + mobilisation
Masterstation DFR / FL server configuration - 2 days
Training - TBA
Mandatory Spares -10%
5yr reccomended Spare Parts TBA
Notes to contractor
Optional firewall is offered in case direct connection to OETC is required
Extra channels or transducers not considered for TC DC signals ( not mentioned in SOW )
Any site field cabeling for AI/DI/DC/SCADA and telecom connection is not in Qualitrol scope
Cabling from LEV panel to communications mux and any required hardware or programming of muliplexer is not in Qualitrol scope
Any remote end feeder changes ( if required ) at site not included
36AI/64D channels have been allocated for each DIA. If more is required, please advise
BBV will be added to units with no RL ( which may be spares )